## identified_leaks
_record_id | _title | _server_created_at | _server_updated_at | _project | _created_by | _updated_by | _geometry | _latitude | _longitude | date | leak_address | leak_address_postal_code | zone | leak_asset_type | asset_id | locationid | flow_rate_lmin | leak_location | has_the_leak_been_called_in_by_ds_technician | job_ref | distance_from_paint_mark | leak_visible | comments | photo | significant_leak_video_capture | reported_to_client
7ebeb58f-1b61-437c-b010-91f7910b793e | 19 Highfield Road McCrae Victoria 3938 Australia | 2022-04-01 02:02:27 UTC | 2022-04-01 02:02:27 UTC | South East Water | Stuart Haggett | Stuart Haggett | SRID=4326;POINT(144.92494247853753 -38.35556337299569) | -38.3556 | 144.9249 | 2022-04-01 | 19 Highfield Road McCrae Victoria 3938 Australia | 3938 | South East Water, Dromana Res | Stop Tap |  |  | 0.6 |  | no |  |  | no | Found meter shut-off. Water passing through meter. Cannot fully shut off meter. Recommend replacing meter tap. vacant building | 2 Photos
8772dc60-d4ac-46c8-b76a-db59637f2490 | 90 Flinders Street McCrae Victoria 3938 Australia | 2022-04-01 00:15:07 UTC | 2022-04-01 00:15:07 UTC | South East Water | Stuart Haggett | Stuart Haggett | SRID=4326;POINT(144.92932353168726 -38.35808968054063) | -38.3581 | 144.9293 | 2022-04-01 | 90 Flinders Street McCrae Victoria 3938 Australia | 3938 | South East Water, Dromana Res | Main to Meter Line |  |  | 5 |  | no |  |  | no | Leak on service line, below Meter. Probed, wet. Also noticed water flowing from stormwater pipe in Lonsdale st.... possibly from same leak..see photos | 5 Photos
b95f8308-ebc0-425a-970f-da3e3fa759b4 | 41 Austin Avenue McCrae Victoria 3938 Australia | 2022-03-31 02:52:15 UTC | 2022-03-31 02:52:15 UTC | South East Water | Stuart Haggett | Stuart Haggett | SRID=4326;POINT(144.9276588857174 -38.36540493245326) | -38.3654 | 144.9277 | 2022-03-31 | 41 Austin Avenue McCrae Victoria 3938 Australia | 3938 | South East Water, Dromana Res | Main to Meter Line |  |  | 0.3 |  | no |  |  | no | Leak below Meter tap on riser, probed...wet Meter located in wooden box, behind letterbox | 2 Photos